Cylinder Straps

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Vendor Name and model # | Webbing Material and dimensions | Treated with UV inhibitorFire retardant | Buckle material and corrosion resistance | Strap strength tested at ## psi | Date tag |
| AirgasY99 FRSTRAP | Nylon | Yes--UVYes--Fire  | galvanized steel tension buckle with stainless steel spring | 1500 | yes |
| USA safetyGB100AFS | 1.5" polypropylene | Yes--UVNo--Fire | Nickel plated steel spring buckle | 1,138 | no |
| Matheson711 Strap711-R Ratchet Strap | 1.5" polypropylene | No--UVNo--Fire | steel buckle | 1,138 | ? |
| ThermoFisher02-216-369 TROEMNER No.:971048 | 1”nylon | No--UVNo--Fire | ? | 1500 | ? |
|  |  |  |  |  |  |

VWR sells the USA, Matheson and ThermoFisher straps. (no shipping charge)

Airgas only sells their strap Y99FRCYLSTRAP

**Cylinder Brackets with Straps/ chains**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Vendor Name and model # | Wall mount | Clamp onto Lab bench | Strap and/or chain  | Floor stands  |
| Airgas |  |  |  |  |
| Fisher 02-216-361 | yes |  | Strap only Strap and chain |  |
| Matheson | Model 710 | Model 708 | Strap only or Strap and chain |  |
|  |  |  |  |  |
| USA safety |  |  |  |  |
| VWR |  |  |  |  |